## BETS Data
CCD and PMT RAS Alignment
Theodolite Coordinates | [7 empty] | Orientation | Tooling Ball Coordinates
Name | X | Y | Z | [5 empty] | X | Y | Z
Scale Bars (Theodolite Reference)
SB1L | 869.868 | -866.707 | -1168.706 | Scale Bar 1 | Nominal | 761.665
SB1R | 1501.176 | -1292.798 | -1174.245 |  | Measured | 761.6653
SB2T | 973.312 | -1194.036 | 463.111 | Scale Bar 2 | Measured | 761.6651
SB2B | 1019.014 | -1071.744 | -287.282
[12 empty] | Distance From Actual |  |  |  | TB Actual
Tray Tooling Balls - First Measurement | [11 empty] | DX | DY | DZ | Dist | X | Y | Z
TB-28 | 1006.027 | -1447.466 | 786.819 | [5 empty] | 230.593 | 40.08 | 1549.957 | -0.0033 | -0.0128 | -0.0032 | 0.0136 | 230.5897 | 40.0672 | 1549.9538
TB-29 | 877.682 | -1351.888 | 787.925 | [5 empty] | 150.72 | 178.762 | 1549.926 | -0.0014 | 0.0162 | -0.0008 | 0.01628 | 150.7186 | 178.7782 | 1549.9252
TB-11 | 709.012 | -1353.873 | -761.063 | [5 empty] | 0.017 | 234.004 | -0.035 | -0.0138 | 0.0073 | 0.0295 | 0.033376 | 0.0032 | 234.0113 | -0.0055
TB-18 | 997.223 | -1439.886 | -762.96 | [5 empty] | 230.433 | 40.643 | 0.032 | 0.0191 | -0.0096 | -0.0255 | 0.033275 | 230.4521 | 40.6334 | 0.0065
TBCR3 | 959.021 | -1366.864 | 12.441 | [5 empty] | 221.895 | 127.782 | 774.921
Tray Tooling Balls - Second Measurement |  |  |  | DX | DY | DZ | Dist from 1st Pos |  |  |  |  | DX | DY | DZ | Dist | X | Y | Z
TB-28A | 1006.089 | -1447.503 | 786.83 | -0.062 | 0.037 | -0.011 | 0.073034 |  | 230.607 | 40.059 | 1549.96 | -0.0173 | 0.0082 | -0.0062 | 0.020124 | 230.5897 | 40.0672 | 1549.9538
TB-29A | 877.694 | -1351.901 | 787.943 | -0.012 | 0.013 | -0.018 | 0.025239 |  | 150.706 | 178.783 | 1549.921 | 0.0126 | -0.0048 | 0.0042 | 0.014122 | 150.7186 | 178.7782 | 1549.9252
TB-11A | 708.923 | -1353.848 | -761.062 | 0.089 | -0.025 | -0.001 | 0.09245 |  | 0.019 | 234.004 | -0.03 | -0.0158 | 0.0073 | 0.0245 | 0.030053 | 0.0032 | 234.0113 | -0.0055
TB-18A | 997.144 | -1439.85 | -762.993 | 0.079 | -0.036 | 0.033 | 0.092876 |  | 230.433 | 40.643 | 0.029 | 0.0191 | -0.0096 | -0.0225 | 0.031036 | 230.4521 | 40.6334 | 0.0065
TBCR3A | 958.991 | -1366.923 | 12.391 | 0.03 | 0.059 | 0.05 | 0.082952
Tray Tooling Balls - Third Measurement |  |  |  | DX | DY | DZ | Dist from 1st Pos |  |  |  |  | DX | DY | DZ | Dist | X | Y | Z
TB-28B | 1006.093 | -1447.472 | 786.789 | -0.066 | 0.006 | 0.03 | 0.072746 |  | 230.648 | 40.021 | 1549.949 | -0.0583 | 0.0462 | 0.0048 | 0.074541 | 230.5897 | 40.0672 | 1549.9538
TB-29B | 877.582 | -1351.848 | 787.914 | 0.1 | -0.04 | 0.011 | 0.10826 |  | 150.664 | 178.822 | 1549.934 | 0.0546 | -0.0438 | -0.0088 | 0.070548 | 150.7186 | 178.7782 | 1549.9252
TB-11B | 709.008 | -1353.905 | -761.094 | 0.004 | 0.032 | 0.031 | 0.044733 |  | 0.05 | 233.989 | -0.029 | -0.0468 | 0.0223 | 0.0235 | 0.056919 | 0.0032 | 234.0113 | -0.0055
TB-18B | 997.166 | -1439.873 | -763.004 | 0.057 | -0.013 | 0.044 | 0.073171 |  | 230.402 | 40.657 | 0.027 | 0.0501 | -0.0236 | -0.0205 | 0.059053 | 230.4521 | 40.6334 | 0.0065
TBCR3B | 958.973 | -1366.923 | 12.382 | 0.048 | 0.059 | 0.059 | 0.09626
PMT-RAS Diode Position 1 | [11 empty] | Dist From 0
PMT1 -30 U | 2656.165 | 3534.595 | -337.204 | [5 empty] | 3726.44 | 3950.986 | 411.955 | 30.0001
PMT1 -30 L | 2653.345 | 3536.74 | -637.285 | [5 empty] | 3725.654 | 3952.159 | 111.836 | 30.03
PMT1 0 U | 2684.65 | 3525.189 | -337.155 | [5 empty] | 3748.853 | 3931.046 | 412.203
PMT1 0 L | 2681.896 | 3527.438 | -637.336 | [5 empty] | 3748.169 | 3932.288 | 111.984
PMT1 +30 U | 2713.158 | 3515.859 | -337.217 | [5 empty] | 3771.317 | 3911.166 | 412.339 | 29.9977
PMT1 +30 L | 2710.328 | 3517.988 | -637.302 | [5 empty] | 3770.516 | 3912.329 | 112.215 | 29.9634
PMT-RAS Diode Position 2
PMT2 -30 U | [8 empty] | 3184.3694 | 3427.3968 | 412.4424 | 30
PMT2 -30 L | [8 empty] | 3184.1855 | 3428.6787 | 112.259 | 29.9999
PMT2 0 U | [8 empty] | 3205.2234 | 3405.8318 | 412.687
PMT2 0 L | [8 empty] | 3205.0781 | 3407.1512 | 112.5091
PMT2 +20 U | 2412.623 | 2819.715 | -338.271 | [5 empty] | 3219.126 | 3391.455 | 412.85
PMT2 +20 L | 2410.347 | 2822.282 | -638.409 | [5 empty] | 3219.007 | 3392.8 | 112.676
PMT2 +30 U | [8 empty] | 3226.0774 | 3384.2668 | 412.9317 | 30
PMT2 +30 L | [8 empty] | 3225.9708 | 3385.6237 | 112.7592 | 30
PMT2 +75 U | 2463.451 | 2798.583 | -338.196 | [5 empty] | 3257.393 | 3351.884 | 413.299
PMT2 +75 L | 2461.146 | 2801.269 | -638.324 | [5 empty] | 3257.294 | 3353.349 | 113.134

## TB Actual
|  | X | Y | Z
REAR TBs | TB 11 | 0.0032 | 234.0113 | -0.0055
| TB 12 | -150.4117 | 179.2671 | -0.0052
| TB 13 | -230.4511 | 40.6404 | -0.0083
| TB 14 | -202.6567 | -116.9982 | 0.0016
| TB 15 | -80.0203 | -219.9079 | 0.0127
| TB 16 | 80.0342 | -219.8928 | 0.0089
| TB 17 | 202.6605 | -117.0037 | -0.0306
| TB 18 | 230.4521 | 40.6334 | 0.0065
| TB 19 | 150.4138 | 179.2619 | 0.0198
FRONT TBs | TB 21 | 0.3858 | 233.7015 | 1549.8192
| TB 22 | -150.0906 | 179.1351 | 1549.8458
| TB 23 | -230.2849 | 40.6127 | 1549.8534
| TB 24 | -202.677 | -117.0567 | 1549.8617
| TB 25 | -80.1806 | -220.0771 | 1549.897
| TB 26 | 79.8774 | -220.2668 | 1549.9325
| TB 27 | 202.6174 | -117.5259 | 1549.9323
| TB 28 | 230.5897 | 40.0672 | 1549.9538
| TB 29 | 150.7186 | 178.7782 | 1549.9252

## RawData
Name | Orient | X | Y | Z
SB1L | TCS001 | 869.868 | -866.707 | -1168.706
SB1R | TCS001 | 1501.176 | -1292.798 | -1174.245
SB2T | TCS001 | 973.312 | -1194.036 | 463.111
SB2B | TCS001 | 1019.014 | -1071.744 | -287.282
TB28 | TCS001 | 1006.027 | -1447.466 | 786.819
TB29 | TCS001 | 877.682 | -1351.888 | 787.925
TB11 | TCS001 | 709.012 | -1353.873 | -761.063
TB18 | TCS001 | 997.223 | -1439.886 | -762.96
TBCR3 | TCS001 | 959.021 | -1366.864 | 12.441
SP1-75 | TCS001 | 4964.475 | -3118.022 | 576.516
SP1+75 | TCS001 | 4904.09 | -3255.309 | 574.705
SP1+75A | TCS001 | 4904.23 | -3255.499 | 574.767
SP1-75A | TCS001 | 4964.581 | -3118.112 | 576.523
SP1-60 | TCS001 | 4958.296 | -3131.63 | 576.271
SP1+55 | TCS001 | 4912.111 | -3237.029 | 575.025
SP2-75 | TCS001 | 3555.498 | -2579.861 | 153.017
SP2+75 | TCS001 | 3490.62 | -2715.037 | 152.027
SP2-58 | TCS001 | 3548.215 | -2595.315 | 152.936
SP2+27 | TCS001 | 3511.358 | -2671.823 | 152.313
TB-28A | TCS001 | 1006.089 | -1447.503 | 786.83
TB-29A | TCS001 | 877.694 | -1351.901 | 787.943
TB-11A | TCS001 | 708.923 | -1353.848 | -761.062
TB-18A | TCS001 | 997.144 | -1439.85 | -762.993
TBCR3A | TCS001 | 958.991 | -1366.923 | 12.391
SP3-75 | TCS001 | 3316.484 | -2474.968 | 682.405
SP3-45 | TCS001 | 3303.15 | -2501.784 | 682.184
SP3+32 | TCS001 | 3268.963 | -2571.077 | 681.69
SP3+75 | TCS001 | 3249.788 | -2609.407 | 681.345
SP3+32A | TCS001 | 3268.992 | -2571.051 | 681.674
TB-28B | TCS001 | 1006.093 | -1447.472 | 786.789
TB-29B | TCS001 | 877.582 | -1351.848 | 787.914
TB-11B | TCS001 | 709.008 | -1353.905 | -761.094
TB-18B | TCS001 | 997.166 | -1439.873 | -763.004
TBCR3B | TCS001 | 958.973 | -1366.923 | 12.382
PMT1 -30 U | TCS001 | 2656.165 | 3534.595 | -337.204
PMT1 -30 L | TCS001 | 2653.345 | 3536.74 | -637.285
PMT1 0 U | TCS001 | 2684.65 | 3525.189 | -337.155
PMT1 0 L | TCS001 | 2681.896 | 3527.438 | -637.336
PMT1 +30 U | TCS001 | 2713.158 | 3515.859 | -337.217
PMT1 +30 L | TCS001 | 2710.328 | 3517.988 | -637.302
PMT2 +20 U | TCS001 | 2412.623 | 2819.715 | -338.271
PMT2 +20 L | TCS001 | 2410.347 | 2822.282 | -638.409
PMT2 +75 U | TCS001 | 2463.451 | 2798.583 | -338.196
PMT2 +75 L | TCS001 | 2461.146 | 2801.269 | -638.324
TB11 | SC | 0.017 | 234.004 | -0.035
TB18 | SC | 230.433 | 40.643 | 0.032
TB28 | SC | 230.593 | 40.08 | 1549.957
TB29 | SC | 150.72 | 178.762 | 1549.926
TBCR3 | SC | 221.895 | 127.782 | 774.921
SP1-75 | SC | 3201.638 | -3065.862 | 1368.87
SP1+75 | SC | 3091.72 | -3167.922 | 1367.361
SP1+75A | SC | 3091.773 | -3168.151 | 1367.426
SP1-75A | SC | 3201.7 | -3065.986 | 1368.878
SP1-60 | SC | 3190.566 | -3075.902 | 1368.654
SP1+55 | SC | 3106.339 | -3154.324 | 1367.641
SP2-75 | SC | 2123.287 | -2015.332 | 935.211
SP2+75 | SC | 2010.081 | -2113.665 | 934.49
SP2-58 | SC | 2110.468 | -2026.627 | 935.161
SP2+27 | SC | 2046.27 | -2082.229 | 934.69
TB-28A | SC | 230.636 | 40.021 | 1549.969
TB-29A | SC | 150.726 | 178.745 | 1549.944
TB-11A | SC | -0.054 | 234.062 | -0.035
TB-18A | SC | 230.375 | 40.707 | -0.002
TBCR3A | SC | 221.845 | 127.739 | 774.871
SP3-75 | SC | 1943.853 | -1820.803 | 1462.838
SP3-45 | SC | 1920.97 | -1840.126 | 1462.668
SP3+32 | SC | 1862.086 | -1890.163 | 1462.307
SP3+75 | SC | 1829.271 | -1917.738 | 1462.034
SP3+32A | SC | 1862.123 | -1890.151 | 1462.291
TB-28B | SC | 230.651 | 40.049 | 1549.929
TB-29B | SC | 150.644 | 178.838 | 1549.914
TB-11B | SC | 0.001 | 233.975 | -0.066
TB-18B | SC | 230.386 | 40.678 | -0.013
TBCR3B | SC | 221.828 | 127.746 | 774.862
PMT1 -30 U | SC | 3726.44 | 3950.986 | 411.955
PMT1 -30 L | SC | 3725.654 | 3952.159 | 111.836
PMT1 0 U | SC | 3748.853 | 3931.046 | 412.203
PMT1 0 L | SC | 3748.169 | 3932.288 | 111.984
PMT1 +30 U | SC | 3771.317 | 3911.166 | 412.339
PMT1 +30 L | SC | 3770.516 | 3912.329 | 112.215
PMT2 +20 U | SC | 3219.126 | 3391.455 | 412.85
PMT2 +20 L | SC | 3219.007 | 3392.8 | 112.676
PMT2 +75 U | SC | 3257.393 | 3351.884 | 413.299
PMT2 +75 L | SC | 3257.294 | 3353.349 | 113.134
TB-11A | SC-A | 0.019 | 234.004 | -0.03
TB-18A | SC-A | 230.433 | 40.643 | 0.029
TB-28A | SC-A | 230.607 | 40.059 | 1549.96
TB-29A | SC-A | 150.706 | 178.783 | 1549.921
TB28 | SC-A | 230.565 | 40.117 | 1549.948
TB29 | SC-A | 150.7 | 178.799 | 1549.904
TB11 | SC-A | 0.09 | 233.946 | -0.03
TB18 | SC-A | 230.491 | 40.58 | 0.062
TBCR3 | SC-A | 221.914 | 127.767 | 774.926
SP1-75 | SC-A | 3201.393 | -3065.899 | 1369.234
SP1+75 | SC-A | 3091.473 | -3167.951 | 1367.726
SP1+75A | SC-A | 3091.526 | -3168.181 | 1367.79
SP1-75A | SC-A | 3201.455 | -3066.024 | 1369.242
SP1-60 | SC-A | 3190.321 | -3075.939 | 1369.018
SP1+55 | SC-A | 3106.092 | -3154.355 | 1368.006
SP2-75 | SC-A | 2123.145 | -2015.373 | 935.458
SP2+75 | SC-A | 2009.937 | -2113.698 | 934.737
SP2-58 | SC-A | 2110.325 | -2026.667 | 935.408
SP2+27 | SC-A | 2046.126 | -2082.265 | 934.936
TBCR3A | SC-A | 221.863 | 127.724 | 774.876
SP3-75 | SC-A | 1943.695 | -1820.806 | 1463.049
SP3-45 | SC-A | 1920.812 | -1840.127 | 1462.878
SP3+32 | SC-A | 1861.927 | -1890.161 | 1462.517
SP3+75 | SC-A | 1829.111 | -1917.733 | 1462.244
SP3+32A | SC-A | 1861.963 | -1890.148 | 1462.501
TB-28B | SC-A | 230.622 | 40.086 | 1549.92
TB-29B | SC-A | 150.624 | 178.876 | 1549.891
TB-11B | SC-A | 0.074 | 233.918 | -0.06
TB-18B | SC-A | 230.444 | 40.614 | 0.018
TBCR3B | SC-A | 221.847 | 127.731 | 774.866
PMT1 -30 U | SC-A | 3726.574 | 3950.68 | 411.914
PMT1 -30 L | SC-A | 3725.804 | 3951.834 | 111.803
PMT1 0 U | SC-A | 3748.985 | 3930.74 | 412.165
PMT1 0 L | SC-A | 3748.318 | 3931.961 | 111.953
PMT1 +30 U | SC-A | 3771.447 | 3910.859 | 412.303
PMT1 +30 L | SC-A | 3770.663 | 3912.002 | 112.187
PMT2 +20 U | SC-A | 3219.245 | 3391.188 | 412.818
PMT2 +20 L | SC-A | 3219.143 | 3392.513 | 112.651
PMT2 +75 U | SC-A | 3257.509 | 3351.616 | 413.272
PMT2 +75 L | SC-A | 3257.427 | 3353.061 | 113.114
TB-11B | SC-B | 0.05 | 233.989 | -0.029
TB-18B | SC-B | 230.402 | 40.657 | 0.027
TB-28B | SC-B | 230.648 | 40.021 | 1549.949
TB-29B | SC-B | 150.664 | 178.822 | 1549.934
TB28 | SC-B | 230.59 | 40.052 | 1549.977
TB29 | SC-B | 150.74 | 178.745 | 1549.946
TB11 | SC-B | 0.066 | 234.018 | 0.002
TB18 | SC-B | 230.449 | 40.623 | 0.071
TBCR3 | SC-B | 221.916 | 127.758 | 774.951
SP1-75 | SC-B | 3201.103 | -3066.325 | 1368.914
SP1+75 | SC-B | 3091.171 | -3168.366 | 1367.404
SP1+75A | SC-B | 3091.224 | -3168.596 | 1367.468
SP1-75A | SC-B | 3201.166 | -3066.45 | 1368.922
SP1-60 | SC-B | 3190.03 | -3076.363 | 1368.698
SP1+55 | SC-B | 3105.791 | -3154.771 | 1367.684
SP2-75 | SC-B | 2122.939 | -2015.634 | 935.252
SP2+75 | SC-B | 2009.718 | -2113.948 | 934.529
SP2-58 | SC-B | 2110.118 | -2026.927 | 935.203
SP2+27 | SC-B | 2045.912 | -2082.518 | 934.73
TB-28A | SC-B | 230.632 | 39.994 | 1549.989
TB-29A | SC-B | 150.746 | 178.729 | 1549.963
TB-11A | SC-B | -0.005 | 234.076 | 0.002
TB-18A | SC-B | 230.39 | 40.686 | 0.037
TBCR3A | SC-B | 221.865 | 127.715 | 774.901
SP3-75 | SC-B | 1943.532 | -1821.081 | 1462.872
SP3-45 | SC-B | 1920.646 | -1840.4 | 1462.701
SP3+32 | SC-B | 1861.755 | -1890.428 | 1462.339
SP3+75 | SC-B | 1828.936 | -1917.997 | 1462.065
SP3+32A | SC-B | 1861.791 | -1890.415 | 1462.323
TBCR3B | SC-B | 221.848 | 127.722 | 774.891
PMT1 -30 U | SC-B | 3727.033 | 3950.356 | 412.047
PMT1 -30 L | SC-B | 3726.25 | 3951.531 | 111.932
PMT1 0 U | SC-B | 3749.442 | 3930.413 | 412.295
PMT1 0 L | SC-B | 3748.762 | 3931.656 | 112.079
PMT1 +30 U | SC-B | 3771.903 | 3910.529 | 412.431
PMT1 +30 L | SC-B | 3771.105 | 3911.693 | 112.311
PMT2 +20 U | SC-B | 3219.636 | 3390.913 | 412.934
PMT2 +20 L | SC-B | 3219.52 | 3392.259 | 112.763
PMT2 +75 U | SC-B | 3257.896 | 3351.336 | 413.383
PMT2 +75 L | SC-B | 3257.8 | 3352.802 | 113.222
----------- | -------- | ------------ | ------------ | -------------------------------------